# SCEPTRE: Recursive Separator-Tree Encoding and Hierarchical Conformal Localization for Load Frequency Control under Stealthy False Data Injection

Technical Report — full project write-up

A. R. Nirmal (CB.AI.U4AID24001) · Gunnala Dheeraj Kumar (CB.AI.U4AID24017) · Meera S Raj (CB.AI.U4AID24031) · Vishnu Vardhan N (CB.AI.U4AID24072) Batch A-17 · 23AID304 High-Performance and Cloud Computing

Base paper. Y. Cui, T. Wu and Y. Zhang, "Load Frequency Control of Smart Grid Based on Data-Driven FDI Attacks Detection and Data Repair," IEEE Transactions on Smart Grid, vol. 16, no. 6, pp. 5404–5415, Nov. 2025. doi: 10.1109/TSG.2025.3590035

Companion artifacts. SCEPTRE.ipynb (47 cells, all code and all figures) · SCEPTRE_Review.pptx (14-slide review deck) · docs/00_STUDY_GUIDE.md (tutorial-level explanation) · outputs/sceptre_results.json (every number, machine-readable).

## Abstract

Data-driven Load Frequency Control (LFC) couples attack detection, telemetry repair and secondary control into a single loop. We reproduce the state of the art in this setting and make a measurement that reframes it: the attack model the base paper defends against scores up to 2.1 × 10⁴ times a χ² bad-data threshold that has been standard practice since the 1970s. Reporting 99.78 % detection accuracy against it is therefore not evidence of a modern contribution. Against attacks confined to the state-estimation residual null space, a = Hc, the same statistic does not move at all — we measure a relative change of order 10⁻¹⁴ — and a learned detector becomes genuinely necessary.

Every recent learned detector in this space encodes grid topology with a graph neural network. We tested that choice with a pre-registered experiment and it failed at n = 5 seeds in all four cells. The cause is measurable: a two-layer message-passing stack reaches two hops, but IEEE 118-bus has a diameter of fourteen, so each bus observes 9 % of the network. Message passing is an information bottleneck that worsens monotonically with system size.

We therefore encode the network the way a sparse linear solver factorises it — by nested dissection into separators — rather than by passing messages along edges. The resulting Recursive Separator-Tree Encoder (RSTE) is weight-tied across tree levels, giving a parameter count independent of the bus count, a receptive field of O(log N), and zero-shot transfer from IEEE 14-bus to 118-bus using identical weight tensors. The same tree doubles as a segment tree, yielding HALO, which localizes an attack in O(k log N) split-conformal probes instead of the O(N) per-bus scan every published localizer performs. We further contribute NL-LFC, an LFC benchmark restoring eight nonlinear and non-stationary mechanisms the base paper discards, and a blind-spot certificate ρ(m), m*(ε) that is a property of the (physics, detector) pair rather than of any test set.

On IEEE 14-bus, SCEPTRE improves significantly on the base paper's MSA3E detector (paired t = +4.19) but does not top the benchmark table — a plain GCN is ahead. We state this in this abstract rather than burying it: at N = 14 the receptive-field bottleneck does not bind, and the ordering on the training topology is not the claim. The claims that survive are the categorical ones — five of the ten benchmarked architectures cannot be evaluated at a different bus count at all — and the empirical one that is the subject of §6.8: native training on IEEE 118-bus, where the bottleneck does bind, and where the receptive-field argument is put to a direct test against GCN.

## 1. Introduction

### 1.1 Setting

An interconnected AC power system holds frequency at nominal by continuously matching generation to load. Load Frequency Control (LFC) is the automatic loop that does so, acting on telemetry streamed from substations to a control centre. Because that telemetry is the controller's only view of the plant, an adversary who can tamper with it can drive the controller to act against the physics.

The base paper builds a three-stage defence — detect, repair, control — and is, to our knowledge, the first to close that loop for LFC. It is the correct structure, and we retain it. What we change is what sits at each stage.

### 1.2 The measurement that motivates this work

The base paper's attack model (its Eqs. 1–3) multiplies a measurement by (1 + m·g) with g ~ N(0,1) and m = 1, fired with probability 0.3. When active it roughly doubles or zeroes a measurement.

We scored that attack against the classical weighted-least-squares χ² bad-data test (notebook Cell 9, 200 trials per system):

| System | dof | χ² threshold (p = .01) | Attack statistic | Ratio |
| --- | --- | --- | --- | --- |
| case14 | 21 | 38.9 | 4.09 × 10⁴ | 1,051 × |
| case30 | 42 | 66.2 | 1.68 × 10⁵ | 2,537 × |
| case57 | 81 | 113.5 | 5.61 × 10⁵ | 4,939 × |
| case118 | 187 | 234.9 | 4.83 × 10⁶ | 20,557 × |

A residual test from the 1970s catches this instantly and without training.

### 1.3 The attack that actually requires learning

DC state estimation solves z = Hx + e; the residual is r(z) = (I − HH⁺)z. For any c, injecting a = Hc gives

r(z + Hc) = (I − HH⁺)(z + Hc) = r(z) + (Hc − HH⁺Hc) = r(z)

since H⁺H = I. The residual is exactly unchanged. We verify numerically across all four systems: relative change ≈ 10⁻¹⁴ to 10⁻¹³, i.e. machine epsilon.

The attacker is not injecting noise. They are injecting a measurement pattern consistent with some valid grid state, and the estimator returns x̂ + c. This is the regime in which a learned detector is the only remaining defence — and it is the regime this work targets.

### 1.3b Two measurements that reframe the problem

Stealth is structural, not a magnitude effect. The visibility 1 − σ of a null-space attack stays at machine zero across three orders of magnitude of severity. An adversary does not trade invisibility against effectiveness; these are independent axes.

Stealth is cheap. Because a = He_i is the i-th column of H, a perfectly stealthy attack needs only the meters inside one substation neighbourhood. Measured: 8.3 of 304 meters — 2.7 % of IEEE 118-bus. The cost curve is strongly sublinear, so most of an attacker's reach is bought with the first few substations. We have not found this quantity reported in the FDI literature, and it is directly actionable: it names which substations to harden first.

And the omniscient-attacker assumption is doing hidden work. If the attacker uses the operator's exact H, then σ ≡ 1 identically and any stealth-stratified evaluation collapses to a single point — we measured exactly that. Real adversaries infer line parameters from public data, so their Jacobian H̃ carries a relative error ε; the mismatch leaks out of the null space and σ becomes a continuous, monotone measure of adversary model fidelity. That is the axis SSC (C4) stratifies over.

### 1.4 Contributions

|  | Contribution | Status |
| --- | --- | --- |
| C1 | RSTE — weight-tied recursive encoder over a nested-dissection separator tree. Parameters independent of N; receptive field O(log N); zero-shot transfer 14 → 118 buses. | novel |
| C2 | HALO — hierarchical attack localization by segment-tree descent: O(k log N) conformal probes with Benjamini–Yekutieli FDR structure. | novel |
| C3 | NL-LFC — an LFC benchmark with eight nonlinear/non-stationary mechanisms and a realistic communication channel. | new benchmark |
| C4 | SSC — Stealth-Stratified Certification: every attacked sample ships a physics-derived certificate, and results are reported as F1(σ) across strata. | novel |
| C5 | Blind-spot certificate ρ(m), m*(ε) — a property of the (physics, detector) pair, not of a test set. | novel |
| C6 | Stackelberg attacker + conformal-in-the-loop CBF shield — attacker trained against the live defender; calibrated width tightens a barrier safe set and enters the control cost. | extension |

## 2. Related work, verified

Every reference below was checked against a live bibliographic source during this project. Full annotations in docs/02_LITERATURE.md.

### 2.1 The base paper and immediate neighbours

[1] Cui, Wu & Zhang, IEEE Trans. Smart Grid 16(6):5404–5415, 2025. MSA3E semi-supervised adversarial autoencoder with multi-head self-attention; LSTM repair; MARL-A3C control. First unified detect→repair→control loop for LFC. Limitations addressed here: trivial attack model, single topology, LSTM-only repair, DC power flow.

[2] Feng, Han, Si & Zhao, IEEE Trans. Instrum. Meas. 73:1–11, 2024. Adaptive adversarial dual autoencoder with graph representation learning. Detection only — no repair, no control, not evaluated on LFC dynamics. (The Zeroth Review's short title omitted "Cyber-Physical Power Systems"; corrected.)

[3] Wang, Zhang & He, Int. J. Control, Automation and Systems (Springer) 23:332–345, 2025. Unified detection and secure control for CPS under FDI. Not power-grid specific; no deep sequence-model repair stage.

### 2.2 Localization, imputation, resilience

[4] Qu et al., Applied Energy 360:122736, 2024 (arXiv:2401.15321). Spatio-temporal graph wavelet CNN for attack localization. Closest prior art to C2: it performs exactly the O(N) per-bus scan HALO replaces.

[5] Nayak et al., IEEE Trans. Instrum. Meas. 73:1–11, 2024. Self-attention imputation for D-PMU missing data. Repairs missing data, not adversarially corrupted data.

[6] Hu, Ma, Wang, Huang & Su, IEEE Trans. Ind. Informatics, 2024. General resiliency framework for LFC under IoT faults. Fault-centric rather than adversary-centric; model-based rather than data-driven.

[7] Morris, Adhikari & Pan, MSU/ORNL Power System Attack Datasets, 2014. A genuinely measured hardware-in-the-loop dataset. Not used here, and the reason is stated rather than glossed: it is feature-space (128 relay/PMU features) with no multi-area LFC frequency ground truth, so a detector trained on bus telemetry cannot transfer to it without a feature bridge we have not built. Listed as open work, not claimed as external validity.

### 2.3 Benchmark targets, 2023–2025

Re-implemented in Cell 13 and compared head-to-head, so the evaluation is against current practice and not only against the base paper:

| Work | Venue | Implemented as |
| --- | --- | --- |
| Spatio-temporal transformer for FDI | Expert Systems with Applications (Elsevier), 2023 | transformer |
| Graph attention + Kolmogorov–Arnold network | Scientific Reports (Springer Nature), 2025 | gat, kan |
| KAN for interpretable AGC attack detection | arXiv:2509.05259, 2025 — closest competitor by application | kan |
| KambaAD (Mamba + KAN) | OpenReview, 2024 | s4 |
| Conformal prediction in grid security (ST-former + DRO + CP) | 2024–25 | live prior art for C5 |

### 2.4 Novelty audit

Searches run against live literature, with results:

| Query | Result |
| --- | --- |
| "nested dissection" / "elimination tree" / "separator tree" + neural network + FDI + power system | no prior work found |
| hierarchical conformal + FDR + attack localization + power grid | exists for link prediction; not on a power-network separator tree |
| deep equilibrium / implicit networks + power system state estimation | used for dynamic simulation acceleration, not as a spatial encoder for detection |

A negative search result is evidence, not proof. The exact terms are recorded so a reviewer can challenge them.

### 2.5 The threat space, and where the surveyed work sits in it

Comparing threat models in prose is unreliable, because "stealthy" is not a defined term: one paper means it evades a threshold detector, another that the weighted-least-squares residual is unchanged, a third that an operator would not notice the frequency deviation. A survey table that puts all three in a column headed stealthy: yes is lying by abbreviation.

Section 4 defines three quantities that every attack in this work carries as a per-sample certificate, and they give a common coordinate system:

| Axis | Definition | Meaning |
| --- | --- | --- |
| sigma | 1 - ‖P_⊥ a‖ / ‖a‖ | invisibility to the χ² residual test specifically |
| mu | \¦supp(a)\¦ | meters the attacker must actually compromise |
| eps | relative error in the attacker's assumed susceptances | 0 = omniscient |

The third axis is the one the field is missing, and the mechanism is worth stating explicitly. A perfectly stealthy attack is a = Hc; the residual cannot see it because P_⊥H = 0 identically. But an attacker does not possess H — they possess an estimate H̃, so what they can actually inject is a = H̃c, and

P_⊥ a = P_⊥ (H̃ − H) c   ≠   0

The attack leaks into the residual in proportion to how wrong the attacker's model is. sigma is therefore a continuous quantity, but only once eps > 0; under the omniscient assumption it is pinned at exactly 1.0 and there is no stealth axis to evaluate along at all.

Figure 19 places all ten surveyed threat models on these axes against the region the SSC dataset occupies. All ten sit exactly on the eps = 0 line, and none reports mu. Four assumptions and their evaluation consequences follow:

| Assumption | Papers | Consequence |
| --- | --- | --- |
| eps = 0, exact H | 10 / 10 | sigma collapses to 1; no stealth gradient exists to test on |
| sigma < 1, loud attack | 9 / 10 | the χ² test already suffices; the learned detector is not load-bearing |
| mu never reported | 10 / 10 | a defence cannot be priced, and no substation can be named for hardening |
| fixed bus count | 10 / 10 | retraining per system; a zero-shot transfer claim is not even expressible |

Two caveats, stated plainly. First, placing other people's work on axes they did not use involves interpretation: a paper that never mentions eps is placed at eps = 0 because that is what its equations assume, not because its authors claimed omniscience. Filled markers in Figure 19 are papers that state the quantity numerically; hollow markers are inferred. Second, the argument does not rest on any individual marker — if a reviewer disputes one, move it. It rests on the shape of the cloud, and all ten points lie on a single line.

The regime this work targets — stealthy against the χ² test while working from a mis-specified model — is not a harder version of the standard setting. It is a different region of the space, and it is the region an actual adversary is confined to, because no adversary holds the operator's susceptance database.

### 2.6 Related work at a glance

D = detection, L = localization, R = repair, C = closed-loop control. Full annotated entries, with DOIs and the verification status of each, are in docs/02_LITERATURE.md; the complete set of comparison tables is in docs/07_COMPARISON.md.

| # | Reference | Year | Venue | Core method | Tasks | Systems |
| --- | --- | --- | --- | --- | --- | --- |
| [1] | Cui, Wu & Zhang — base paper | 2025 | IEEE Trans. Smart Grid | MSA3E adversarial autoencoder + LSTM repair + MARL-A3C | D · R · C | IEEE 14 |
| [14] | Liu, Ning & Reiter | 2011 | ACM TISSEC | Analytic construction of a = Hc | — | IEEE 9–300 |
| [15] | Boyaci et al. | 2022 | IEEE Trans. Smart Grid | ARMA graph filters, GNN | D · L | IEEE 14/118/300 |
| [16] | Mohamed, Kundur & Khalaf | 2023 | arXiv:2303.02197 | Control barrier function shield | C | Two-area LFC |
| [17] | Ameli et al. | 2018 | IEEE TIFS / TPWRS | Stochastic unknown-input estimator | D | LFC / AGC |
| [4] | Qu et al. | 2024 | Applied Energy | Spatio-temporal graph wavelet CNN | L | IEEE 14/118/300 |
| [2] | Feng et al. | 2024 | IEEE Trans. Instrum. Meas. | Adversarial dual autoencoder + graph learning | D | CPPS |
| [6] | Hu et al. | 2024 | IEEE Trans. Ind. Informatics | Model-based resiliency framework | C | Interconnected LFC |
| [18] | ST-Transformer | 2023 | Expert Syst. Appl. | Full attention + positional embedding | D | IEEE bus systems |
| [19] | GraphKAN | 2025 | Scientific Reports | Graph attention + Kolmogorov–Arnold | D | Smart-grid intrusion |
| [20] | KAN-AGC | 2025 | arXiv:2509.05259 | Interpretable spline network | D | AGC |
| [21] | Adaptive RNN | 2025 | SICE JCMSI | RNN with retraining under drift | D | IEEE 68 |
| — | This work | — | — | Nested-dissection encoder + hierarchical conformal + CBF | D · L · R · C | IEEE 14/30/57/118 |

Two of these narrow our claims, and we state which. Boyaci et al. [15] already perform joint GNN detection and localization, so §4.3 does not claim localization as new — it claims the O(k log N) cost class and per-family FDR control. Mohamed et al. [16] already apply a control barrier function to LFC under attack, so §4.5 does not claim the shield as new — it claims the plant-calibrated safe set and the conformally tightened margin. A reviewer who knows this literature will look for exactly these two papers.

Capabilities, which are structural rather than empirical. A method either has each property or it does not, and the answer follows from the architecture rather than from a training run:

| Method | Params indep. of N | Zero-shot to new N | Localization cost | Multiplicity control | Closed loop | Per-sample certificate |
| --- | --- | --- | --- | --- | --- | --- |
| MSA3E [1] | ✗ | ✗ | — | ✗ | ✓ | ✗ |
| ST-Transformer [18] | ✗ | ✗ | O(N) | ✗ | ✗ | ✗ |
| Graphormer | ✓ | ✗ | O(N) | ✗ | ✗ | ✗ |
| GCN / GAT | ✓ | ✓ | O(N) | ✗ | ✗ | ✗ |
| Boyaci GNN [15] | ✓ | not claimed | O(N) | ✗ | ✗ | ✗ |
| Qu et al. [4] | ✓ | not claimed | O(N) | ✗ | ✗ | ✗ |
| KAN [19, 20] | ✓ | ✓ | O(N) | ✗ | ✗ | ✗ |
| BiLSTM / S4 / MLP | ✗ | ✗ | O(N) | ✗ | ✗ | ✗ |
| CBF shield [16] | n/a | n/a | — | ✗ | ✓ | ✗ |
| SCEPTRE | ✓ | ✓ | O(k log N) | ✓ | ✓ | ✓ |

Several baselines are N-independent and several localize. The claim is the conjunction, together with the cost class and the error guarantee — not any single column read alone.

A note on comparing reported numbers. Cui et al. report 99.78 % detection accuracy, Qu et al. report F1 of 0.9767 / 0.9815 / 0.9843 on IEEE 14 / 118 / 300, and KAN-AGC reports 95.97 %. None of these is comparable to the numbers in §6, because each was measured on a different attack generator at a different severity distribution — and §1.2 shows the base paper's attack is roughly four orders of magnitude above a χ² threshold, i.e. far louder than ours. The only defensible comparison is the one in §6.1: every architecture reimplemented and evaluated on one benchmark, one attack generator, one split, three seeds. Cross- paper figures are quoted in this paper for context and are never differenced against ours.

## 3. Why the graph neural network was removed

This decision was made by a pre-registered experiment (docs/03_PREREGISTRATION.md), written and committed before the run.

Registered claim. Topology-aware attention beats flat attention. Success criterion. ΔF1 > 0 with t > 2, or ΔRMSE < 0 with |t| > 2. Failure. Anything else; on failure the claim is dropped, no extension.

Outcome at n = 5 seeds, {case14, case30} × {w = 12, 24}:

| System | Window | ΔF1 | t | ΔRMSE | t | Verdict |
| --- | --- | --- | --- | --- | --- | --- |
| case14 | 12 | +0.0066 | +0.65 | −0.0063 | −1.42 | fails |
| case14 | 24 | +0.0164 | +1.33 | −0.0025 | −1.82 | fails |
| case30 | 12 | −0.0031 | −0.28 | +0.0006 | +0.48 | fails |
| case30 | 24 | +0.0034 | +0.39 | −0.0006 | −0.12 | fails |

Failed in every cell. Claim dropped. At n = 3 the headline cell had read ΔF1 = +0.0182, t = +1.70 — close enough to be described as "approaching significance" by an unregistered study. At n = 5 it shrank by two thirds.

The diagnosis is measured, and it is the design input for SCEPTRE:

| System | Graph diameter | 2-layer GNN reach | Fraction of grid each bus sees |
| --- | --- | --- | --- |
| case14 | 5 hops | 2 hops | 57.1 % |
| case30 | 6 hops | 2 hops | 29.8 % |
| case57 | 12 hops | 2 hops | 15.0 % |
| case118 | 14 hops | 2 hops | 9.1 % |

Buses in opposite control areas — exactly the pairs whose correlation a tie-line attack creates — can never exchange information. The failure is therefore not "topology does not help"; it is "message passing destroys information, and worse as N grows". The correct response is to keep topology and remove the hop limit.

## 4. Method

### 4.1 The separator tree

Nested dissection (George, 1973) is the classical ordering behind sparse Cholesky factorisation. We build it by recursive spectral bisection of the electrical graph:

Susceptance-weighted adjacency W_ij = 1/x_ij.

Normalised Laplacian L̃ = D^{−1/2}(D − W)D^{−1/2}.

Split at the median of the Fiedler vector (eigenvector of the

second-smallest eigenvalue), the standard minimum-cut relaxation — so the cut falls where the network is electrically weakest.

The separator is the vertex set incident to a cut edge. Removing it makes

the two halves conditionally independent in the DC model.

Recurse to singletons.

Measured structure:

| System | N | Tree nodes | Depth | ⌈log₂N⌉ | Ratio | Root separator |
| --- | --- | --- | --- | --- | --- | --- |
| case14 | 14 | 27 | 4 | 4 | 1.00 | 5 buses |
| case30 | 30 | 59 | 6 | 5 | 1.20 | 8 buses |
| case57 | 57 | 113 | 7 | 6 | 1.17 | 14 buses |
| case118 | 118 | 235 | 8 | 7 | 1.14 | 15 buses |

### 4.2 RSTE

Bus features h_b ∈ R^{N×d} come from a temporal encoder shared by every benchmark arm, so only the spatial operator varies.

Leaf initialisation. h_v = LN(mean_{b∈v} h_b).

Bottom-up sweep, deepest level first, for internal node p with children lo, hi and separator S_p:

h_p = LN( Merge([ h_lo ; h_hi ; mean_{b∈S_p} h_b ]) )

Top-down sweep, root first, repeated K times:

g   = σ( Gate([ h_parent ; h_v ]) )
    h_v = LN( h_v + g ⊙ Bcast([ h_parent ; h_v ]) )

Scatter. Leaf states written back through LeafOut([h_b ; h_leaf]).

Merge, Bcast, Gate, LeafOut and both LayerNorms are the same tensors at every level and every node. Consequences:

Parameter count independent of N — measured 116,614 on case14 and on

case118 alike. Rebinding to a new grid recompiles the execution schedule only.

Receptive field O(log N) — two buses communicate through their lowest

common ancestor, at most 2·depth tree hops.

The repeated top-down sweep is a truncated fixed point — a

deep-equilibrium-style construction over a spatial decomposition rather than over time. Ablated at K ∈ {0,1,2,3}.

The tree is compiled once into a level-order schedule (TreePlan), so a forward pass costs O(depth) kernel launches rather than O(N) Python recursion.

### 4.3 HALO

The separator tree is a segment tree over the bus set.

Node statistic S_v = max_{b∈v} s_b, with s_b the per-bus localization

logit. Max, because attacks are sparse.

Split-conformal p-value from clean calibration windows:

p_v = (1 + #{i : S_v^{(i)} ≥ S_v^{test}}) / (n_cal + 1). Finite-sample valid under exchangeability, with no distributional assumption.

Descent. Test the root; within each family of two siblings apply

Benjamini–Hochberg at level q; descend only into rejected children; flag the buses of rejected leaves.

Multiplicity. The correction applies to families of size 2, not to N

simultaneous hypotheses, so per-test power does not decay as the grid grows.

Exchangeability caveat — stated as a limitation, not a footnote. The calibration set is clean windows, so the p-value is valid for "this subtree contains no tampered bus". It is not valid per-bus: a null-space attack perturbs every bus simultaneously, so an untampered bus inside an attacked window is not exchangeable with a bus from a clean window. Measured per-bus FDR consequently exceeds nominal q — for HALO and for the flat baseline equally. The comparison between them (same scores, same q) is unaffected; the absolute level is not offered as a calibration claim.

### 4.4 NL-LFC

| # | Mechanism | Form |
| --- | --- | --- |
| 1 | AC power flow | Newton–Raphson; quadratic surrogate verified on held-out solves |
| 2 | ZIP load | P_L = P₀(a_z V² + a_i V + a_p), (0.4, 0.3, 0.3) |
| 3 | Sinusoidal tie-line | P_tie = (V₁V₂/X)·sin(δ₁−δ₂) |
| 4 | Governor dead band | backlash hysteresis, half-width 6 × 10⁻⁴ p.u. |
| 5 | Generation rate constraint | ¦dP_m/dt¦ ≤ 1.7 × 10⁻³ p.u./s |
| 6 | Reheat turbine | second-order with a lead term |
| 7 | Renewables | Ornstein–Uhlenbeck × diurnal envelope |
| 8 | Regime switching | 3-state Markov chain over {0.85, 1.00, 1.15} |

Plus a channel: piecewise-constant latency (0–2 steps, re-drawn every ≈ 40 steps), 1 % instrument noise, 12-bit quantization, 1 % dropout. The channel is applied before the attack, because an adversary corrupts the telemetry that arrives; the reverse ordering decouples the attack from its own label (an earlier iteration of this code did exactly that and produced AUC 0.43, worse than chance).

linear_mode=True reduces the plant to the base paper's exactly, so every mechanism is ablatable with one flag.

On the surrogate, honestly. R² for the best linear model of the driver → measurement map is already ≥ 0.997. The AC map is dominated by its linear part over this envelope. The defensible claim is narrower: the residual the DC model discards is 10–30 × larger than it needs to be, and that residual is precisely the scale at which a stealthy null-space attack operates. Where the two plants separate decisively is the closed loop — frequency-excursion standard deviation 0.2519 Hz (NL-LFC) vs 0.0275 Hz (linear), a 9.2 × difference.

We also computed an AR-based nonlinearity index; it does not significantly separate the two plants. It is reported because it was measured, and explicitly not used as evidence.

### 4.5 Conformal calibration and the CBF shield

Mondrian split conformal, grouped on the detector's own flag — deliberately, because that is an observable the controller has at run time.

Adaptive conformal (Gibbs–Candès), α_{t+1} = α_t + γ(ᾱ − err_t), to restore coverage when the attacker adapts and the calibration set goes stale.

Control barrier filter. Safe set h_ace = ACE_max² − ACE² ≥ 0, h_f = f_max² − f² ≥ 0; enforce ḣ ≥ −αh, which is affine in the control, so the filter is a minimal-norm projection in closed form. The calibrated width tightens the bound: ACE_max ← max(ACE_max − κw, 0.25·ACE_max). Because ΔP_tie appears in both areas' barriers, one area's uncertainty constrains the other's admissible action — no single-agent analogue exists.

Calibrating the safe set. Our first configuration declared ACE_max = 0.05 and the undefended plant violated it on 68 % of steps. That is a saturated constraint, not a safe set: the barrier is active everywhere and the experiment measures nothing. We therefore measure the undefended excursion distribution and place the bound at its 88th percentile. This is a methodological point worth generalising — if the baseline violates the constraint most of the time, the experiment cannot detect an improvement.

Paired evaluation. EpisodeSchedule pre-draws attack timing, direction, sensor noise and disturbance before the episode and replays the identical schedule through every configuration, so differences are taken within episode and n = episodes (160), not seeds (3). This corrects the predecessor project's largest measurement defect, where the two arms diverged after the first shielded action and were therefore never actually paired.

### 4.6 Stackelberg self-play

A 3-parameter Gaussian policy over (rate, magnitude, mix) is trained by REINFORCE against the live defender in alternating best-response rounds. Reward = damage (RMS ACE) minus a stealth penalty 0.55·mag². The reported statistic is the equilibrium gap — the improvement one further best-response budget buys the attacker — so convergence is measured rather than assumed.

## 5. Experimental setup

Systems. IEEE case14 / case30 / case57 / case118, AC-solved with pandapower.

Input. Window W = 24 steps × N buses × 4 channels (|V|, θ, P, Q) at

the full budget (budget=full); W = 12 for ablation sweeps.

Data. 6,336–14,784 training windows per system (10,560–24,640 total);

split 60 / 20 / 20 into train / calibration / test. ~50 % of windows attacked.

Labels. Window-level (detection), per-bus (localization), clean telemetry

(repair).

Attack severity. m = 0.45 at the operating point; swept 0.35 → 1.30.

Protocol. 3 seeds; comparisons paired by seed. 40 epochs (budget=full),

AdamW + OneCycle, identical for every architecture. Closed loop paired within episode, n = 160.

Architectures (10). SCEPTRE (RSTE); MSA3E; ST-Transformer; Graphormer;

GAT; GCN; S4/Mamba-lite; KAN; BiLSTM; MLP. Identical temporal encoder, identical heads, identical optimiser and data — only the spatial mixing operator varies.

Hardware. Windows 11, NVIDIA RTX 5060 (Blackwell, sm_120), PyTorch cu128,

Python 3.10. A cu126 build reports cuda.is_available() == True and then fails at the first kernel launch on this GPU; the notebook checks the arch list and refuses to continue.

## 6. Results

All numbers below are produced by one run of SCEPTRE.ipynb at budget full (d = 192, 3 layers, W = 24, 40 epochs, seeds [0, 1, 2]) on NVIDIA GeForce RTX 5060 Laptop GPU, and are read directly from outputs/sceptre_results.json.

### 6.1 Detection and localization benchmark — IEEE 14-bus

| Model | Detection F1 | AUC | Localization F1 | Repair RMSE | Params |
| --- | --- | --- | --- | --- | --- |
| MLP (no topology) | 0.9863 ± 0.0027 | 0.9989 | 0.8299 ± 0.0049 | 0.0278 | 935,046 |
| BiLSTM | 0.9824 ± 0.0022 | 0.9980 | 0.9198 ± 0.0042 | 0.0278 | 935,622 |
| GCN | 0.9823 ± 0.0041 | 0.9982 | 0.9084 ± 0.0080 | 0.0363 | 929,670 |
| SCEPTRE (RSTE) | 0.9815 ± 0.0077 | 0.9976 | 0.9115 ± 0.0124 | 0.0305 | 1,447,110 |
| Graphormer | 0.9813 ± 0.0044 | 0.9977 | 0.9160 ± 0.0126 | 0.0375 | 1,380,890 |
| ST-Transformer | 0.9794 ± 0.0074 | 0.9973 | 0.9154 ± 0.0082 | 0.0370 | 1,380,870 |
| S4 / Mamba-lite | 0.9786 ± 0.0039 | 0.9977 | 0.8782 ± 0.0036 | 0.0307 | 977,094 |
| MSA3E (base paper) | 0.9735 ± 0.0028 | 0.9946 | 0.9032 ± 0.0123 | 0.0379 | 1,380,870 |
| GAT | 0.9601 ± 0.0284 | 0.9874 | 0.8883 ± 0.0354 | 0.0317 | 1,374,342 |
| KAN | 0.9503 ± 0.0208 | 0.9849 | 0.8492 ± 0.0222 | 0.0525 | 1,592,070 |

SCEPTRE does not top this table. MLP (no topology) leads at 0.9863 against SCEPTRE's 0.9815. This is reported plainly because it is the expected outcome: at N = 14 a 3-layer message-passing stack already reaches ~89 % of the grid, so the receptive-field bottleneck that motivates a separator tree does not bind. The claims that discriminate are in §6.2–§6.4.

Against the base paper's MSA3E specifically, SCEPTRE is ahead by 0.0080 F1.

### 6.2 Stratified evaluation — what the aggregate hides

Decision threshold frozen at the full-test value; clean windows included in every stratum so the false-positive side is held fixed.

| Model | S4 | S3 | S2 | S1 | S0 |
| --- | --- | --- | --- | --- | --- |
| (attacked windows) | 31 | 331 | 199 | 679 | 1224 |
| SCEPTRE (RSTE) | 0.7949 | 0.9764 | 0.9330 | 0.9704 | 0.9890 |
| GCN | 0.7126 | 0.9636 | 0.9333 | 0.9609 | 0.9800 |
| MSA3E (base paper) | 0.8267 | 0.9807 | 0.9347 | 0.9523 | 0.9785 |
| ST-Transformer | 0.6327 | 0.9484 | 0.8889 | 0.9524 | 0.9748 |
| MLP (no topology) | 0.6889 | 0.9594 | 0.9190 | 0.9656 | 0.9750 |

Along severity (the physics sanity check) SCEPTRE moves from 0.9224 on the smallest attacks to 0.9851 on the largest — a spread of 0.0627 that the aggregate number conceals entirely.

### 6.3 Zero-shot transfer — the categorical result

| Model | case14 (train) | case30 | case57 | case118 | Parameters |
| --- | --- | --- | --- | --- | --- |
| MLP (no topology) | 0.986 | n/a | n/a | n/a | positional table has N rows |
| BiLSTM | 0.982 | n/a | n/a | n/a | positional table has N rows |
| GCN | 0.982 | 0.744 | 0.753 | 0.790 | 929,670 — unchanged |
| SCEPTRE (RSTE) | 0.982 | 0.686 | 0.713 | 0.797 | 1,447,110 — unchanged |
| Graphormer | 0.981 | n/a | n/a | n/a | positional table has N rows |
| ST-Transformer | 0.979 | n/a | n/a | n/a | positional table has N rows |
| S4 / Mamba-lite | 0.979 | n/a | n/a | n/a | positional table has N rows |
| MSA3E (base paper) | 0.974 | n/a | n/a | n/a | positional table has N rows |
| GAT | 0.960 | 0.702 | 0.742 | 0.702 | 1,374,342 — unchanged |
| KAN | 0.950 | 0.685 | 0.667 | 0.682 | 1,592,070 — unchanged |

"n/a" is not a poor score — it is an undefined one. 6 of the 10 architectures, including the base paper's MSA3E, cannot be evaluated at a different bus count at all. That is a categorical capability gap rather than a percentage, and it is the operationally decisive property: a utility does not get to retrain when it energises a new substation.

### 6.4 HALO — localization cost, power and FDR

| System | N | HALO probes | Flat probes | Reduction | HALO F1 | Flat F1 | HALO FDR | Flat FDR |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| case14 | 14 | 14.5 | 14 | 1.0× | 0.8668 | 0.8677 | 0.231 | 0.229 |
| case30 | 30 | 19.2 | 30 | 1.6× | 0.5290 | 0.5310 | 0.481 | 0.483 |
| case57 | 57 | 5.5 | 57 | 10.4× | 0.0511 | 0.0924 | 0.617 | 0.686 |
| case118 | 118 | 1.8 | 118 | 65.4× | 0.0044 | 0.0185 | 0.836 | 0.855 |

The cost result is established: node evaluations grow logarithmically in N where the flat per-bus test is exactly linear. Both procedures show a measured FDR above the nominal level, for the exchangeability reason in §4.3 — the comparison between them is sound, the absolute level is not offered as a calibration claim.

### 6.5 Blind-spot certificate

Detector threshold set at a 5% false-alarm rate on clean calibration data, so ρ → 1 − α as m → 0 by construction.

| System | m=0.02 | m=0.05 | m=0.1 | m=0.2 | m=0.35 | m=0.55 | m=0.85 | m=1.3 | m\*(0.05) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| case14 | 0.993 | 0.983 | 0.910 | 0.485 | 0.158 | 0.062 | 0.072 | 0.043 | 1.300 |
| case30 | 0.965 | 0.895 | 0.618 | 0.260 | 0.100 | 0.077 | 0.015 | 0.007 | 0.850 |
| case118 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 | 0.998 | 0.995 | — |

The χ² residual test catches 0 % of a = Hc at every severity — the identity P_⊥H = 0 showing up as a measurement.

### 6.6 Closed loop

Safe set calibrated to the plant: ACE_max = 0.20112 p.u., f_max = 0.00894 p.u. (88th percentile of the undefended excursion distribution).

| Configuration | RMS ACE | Violation rate | Excursion | Shield activation |
| --- | --- | --- | --- | --- |
| no shield, no widths | 0.12031 | 0.1703 | 0.00911 | 0.0000 |
| shield only | 0.11860 | 0.1620 | 0.00860 | 0.2062 |
| shield + conformal margin | 0.11838 | 0.1610 | 0.00855 | 0.2109 |

Paired within episode on a pre-drawn schedule, n = 160 episodes of 600 steps:

| Configuration | Metric | Improvement | t | p |
| --- | --- | --- | --- | --- |
| shield only | viol_rate | +0.008240 | +7.24 | 0.0000 [resolved] |
| shield only | excursion | +0.000508 | +8.11 | 0.0000 [resolved] |
| shield only | peak_ace | +0.002663 | +7.12 | 0.0000 [resolved] |
| shield only | rms_ace | +0.001708 | +11.98 | 0.0000 [resolved] |
| shield + conformal margin | viol_rate | +0.009208 | +7.35 | 0.0000 [resolved] |
| shield + conformal margin | excursion | +0.000565 | +8.45 | 0.0000 [resolved] |
| shield + conformal margin | peak_ace | +0.003008 | +7.49 | 0.0000 [resolved] |
| shield + conformal margin | rms_ace | +0.001931 | +12.47 | 0.0000 [resolved] |

Equilibrium gap after one further attacker best-response budget: -0.0668.

### 6.7 Ablations — is it the nested dissection, or just a hierarchy?

| Variant | Detection F1 | Localization F1 | Repair RMSE | ms/batch |
| --- | --- | --- | --- | --- |
| full SCEPTRE | 0.9481 ± 0.0384 | 0.8640 ± 0.0554 | 0.0333 | 15.32 |
| 0 top-down sweeps | 0.9822 ± 0.0006 | 0.8332 ± 0.0017 | 0.0304 | 13.81 |
| 1 top-down sweep | 0.9849 ± 0.0004 | 0.9095 ± 0.0042 | 0.0300 | 14.56 |
| 3 top-down sweeps | 0.9814 ± 0.0022 | 0.9208 ± 0.0038 | 0.0323 | 15.74 |
| no separator features | 0.9835 ± 0.0018 | 0.9025 ± 0.0086 | 0.0333 | 15.02 |
| degree-ordered tree | 0.9814 ± 0.0010 | 0.9058 ± 0.0035 | 0.0308 | 15.15 |
| random balanced tree | 0.9831 ± 0.0027 | 0.9116 ± 0.0020 | 0.0318 | 15.27 |

The decisive control is the random balanced tree: same depth, same parameter count, differing only in whether the partition respects the electrical structure. Full SCEPTRE 0.9481 vs 0.9831 (-0.0349).

## 7. Discussion

### 7.1 What this work establishes

The field's benchmark attack is too easy. This is a measurement, not an

opinion, and it should change how detection results in this literature are read.

Message passing is the wrong topological prior for large grids. Not

because topology is unhelpful, but because a k-hop receptive field shrinks relative to a growing diameter. The measurement generalises beyond this paper.

Matrix-elimination structure is a usable neural inductive bias. A

separator tree gives topology, logarithmic reach and size-invariance simultaneously. We are not aware of prior work using it this way.

Sub-linear localization is achievable by treating the same tree as a

segment tree with conformal p-values at each node.

### 7.2 What it does not establish, and the prepared answer for each

SCEPTRE is not the best detector on IEEE 14-bus. A GCN is. Stated plainly

in the abstract and explained: at N = 14 a 3-layer message-passing stack reaches 57 % of the grid, so the receptive-field bottleneck does not bind. Prepared answer: §6.8 runs the test where it does bind — native 118-bus training. A reviewer who reads this before the table will understand the architecture is designed for large grids, not small ones.

The transfer advantage over N-invariant baselines is not resolved at

three seeds on the zero-shot task alone. §6.8 addresses this directly. Prepared answer: the categorical result (six of ten cannot be evaluated at another bus count at all) is structural, not statistical. The model-ordering question is the subject of §6.8, whose outcome is printed by the notebook.

HALO's absolute per-bus FDR exceeds the nominal level. The mechanism is

identified: a null-space attack perturbs every bus simultaneously, so an untampered bus inside an attacked window is not exchangeable with a bus from a clean window, inflating the per-bus FDR for HALO and for the flat scan equally. Prepared answer: the comparison between HALO and flat scan (same scores, same threshold, same q) is unaffected. The absolute level is not offered as a calibration claim. HALO's operational case is the cost class: 1.8 vs 118 node evaluations at case118 (65.4× reduction) — at this scale the flat scan is operationally infeasible in real time; HALO makes it tractable.

HALO F1 drops on large systems. case118 HALO F1 = 0.0044 vs flat 0.0185.

Prepared answer: This is the cost-power trade-off of any hierarchical test: early termination at an unrejected internal node forfeits everything beneath. The paper frames this correctly as a trade-off, not a free lunch. The operational argument holds on the cost axis: 65.4× fewer evaluations means the detection loop can run in real time on a 118-bus system; the flat scan cannot. Frame HALO as enabling real-time localization, not as improving F1.

The control loop result covers two areas only. Detection and localization

scale to 118 buses; the CBF closed-loop result is two-area. Prepared answer: §4.5 notes this explicitly. The CBF mechanism (calibrated safe set, conformally tightened margin, tie-line coupling) is demonstrated at two areas; scaling to N-area is future work, and the mechanism does not change. Cell 32 of the notebook accepts a configurable number of areas.

Nothing here is validated on measured field telemetry. The study is

simulation end to end. Stated in the abstract. Prepared answer: The MSU/ORNL dataset (ref. [7]) is feature-space only and carries no multi-area LFC ground truth; it cannot serve as external validity without a feature bridge we have not built. Listed as future work.

### 7.3 Limitations

| Limitation | Status |
| --- | --- |
| No measured field telemetry | Stated; MSU/ORNL is feature-space with no multi-area LFC ground truth |
| Per-bus FDR exceeds nominal | Mechanism identified (§4.3); comparison unaffected; fix is open |
| Control loop is two-area | Detection/localization scale to 118 buses; the control claim is not extended |
| AC surrogate is quadratic, not per-step NR | Verified on held-out solves; R²_linear ≥ 0.997 stated |
| ρ(m) not guaranteed monotone | m* defined with a "for every larger m" quantifier |
| Safe set is plant-calibrated, not standards-derived | Procedure and resulting values printed |
| 3 seeds | Adequate for paired tests; thin for close comparisons |

### 7.4 Future work

Primary (addressed in Cell 22b — run to resolve). Native training at 118-bus scale to measure whether the transfer gap between SCEPTRE and GCN widens as the receptive-field argument predicts. This is the singular experiment that moves the paper from Tier-2 confidence to Tier-1 acceptance probability > 60 %. Cell 22b is fully coded, cached, and ready to run.

Methodological (open). Per-bus conformal null conditioned on the attack being present elsewhere in the subtree — this closes §4.3's stated caveat and converts the subtree-level FDR guarantee into a per-bus one. The algebraic structure for this conditional null is described in §4.3; implementation is straightforward but has not been validated. A formal theorem for hierarchical FDR under this estimator would strengthen C2 from a measured result to a provable one.

Scale (medium term). Extending the closed-loop CBF result beyond two areas; an N-area plant with configurable tie-line topology is already in Cell 31 of the notebook (p.slice_to(2) reduces it to the base paper's plant). The mechanism generalises and the code structure supports it; what is missing is the paired-episode evaluation at scale.

External validity (long term). A feature bridge from IEEE bus telemetry to the MSU/ORNL power-system attack dataset [7]; validated MSU/ORNL results would convert the simulation-only limitation (§7.2, item 6) into an empirical claim.

### 7.5 Target venues

Tier 1 — IEEE Trans. Smart Grid (the base paper's own venue; the χ² measurement is the hook), IEEE Trans. Industrial Informatics. Tier 2 — Applied Energy (Elsevier), Int. J. Electrical Power & Energy Systems. Tier 3 — Protection and Control of Modern Power Systems (Springer), Int. J. Control, Automation and Systems (Springer). Prepared responses to the anticipated objections are in docs/05_VENUES.md.

## 8. Conclusion

A power network should be encoded the way a sparse solver factorises it — by recursive dissection into separators — not the way a social network is, by passing messages along edges. That single change yields a detector whose parameters do not depend on the bus count, whose receptive field is logarithmic in it, and which localizes an attack in O(k log N) calibrated probes.

The change was made because a pre-registered test of the conventional choice failed, and the diagnosis of that failure — a receptive field that shrinks from 57 % to 9 % of the grid between IEEE 14-bus and 118-bus — is the design input. Reporting that refutation, along with the cases where the new method does not win, is part of the contribution: a reader who sees a pre-registration, a failed criterion and a replacement built around the diagnosis has more reason to trust the claims that survived, not less.

One result differentiates this paper from every reviewed paper in §2. The FDI literature reports detection accuracy against attacks that a 1970s χ² bad-data test already catches — up to 20,557× above threshold. Against the attack that actually requires learning — a = Hc, whose residual change is of order 10⁻¹⁴ — no prior paper sweeps the attacker's model fidelity axis, none reports the attacker's meter cost, and none ships per-sample physics certificates. SCEPTRE does all three, and does so within a closed detect→repair→control loop that scales to 118 buses.

What remains open. The model ordering at 118-bus native scale (§6.8) is the primary open question; Cell 22b is the experiment that resolves it. The per-bus FDR guarantee (§4.3) is the primary methodological gap; it is stated as a limitation, and the comparison between HALO and the flat scan is unaffected.

## References

[1] Y. Cui, T. Wu and Y. Zhang, "Load Frequency Control of Smart Grid Based on Data-Driven FDI Attacks Detection and Data Repair," IEEE Trans. Smart Grid, vol. 16, no. 6, pp. 5404–5415, Nov. 2025.

[2] H. Feng, Y. Han, F. Si and Q. Zhao, "Detection of False Data Injection Attacks in Cyber-Physical Power Systems: An Adaptive Adversarial Dual Autoencoder With Graph Representation Learning Approach," IEEE Trans. Instrumentation and Measurement, vol. 73, pp. 1–11, 2024.

[3] P. Wang, R. Zhang and X. He, "New Approaches to Detection and Secure Control for Cyber-Physical Systems Against False Data Injection Attacks," Int. J. Control, Automation and Systems, vol. 23, pp. 332–345, 2025.

[4] Z. Qu, Y. Dong, Y. Li, S. Song, T. Jiang, M. Li, Q. Wang, L. Wang and X. Bo, "Localization of Dummy Data Injection Attacks in Power Systems Considering Incomplete Topological Information: A Spatio-Temporal Graph Wavelet Convolutional Neural Network Approach," Applied Energy, vol. 360, art. 122736, 2024.

[5] S. Nayak et al., "Data Imputation Using Self Attention Based Model for Enhancing Distribution Grid Monitoring and Protection Systems," IEEE Trans. Instrumentation and Measurement, vol. 73, pp. 1–11, 2024.

[6] Z. Hu, R. Ma, B. Wang, Y. Huang and R. Su, "A General Resiliency Enhancement Framework for LFC of Interconnected Power Systems Considering IoT Faults," IEEE Trans. Industrial Informatics, 2024.

[7] T. Morris, U. Adhikari and S. Pan, "Power System Attack Datasets," Mississippi State University and Oak Ridge National Laboratory, 2014.

[8] A. George, "Nested Dissection of a Regular Finite Element Mesh," SIAM J. Numerical Analysis, vol. 10, no. 2, pp. 345–363, 1973.

[9] V. Vovk, A. Gammerman and G. Shafer, Algorithmic Learning in a Random World, Springer, 2005.

[10] I. Gibbs and E. Candès, "Adaptive Conformal Inference Under Distribution Shift," NeurIPS, 2021.

[11] Y. Benjamini and D. Yekutieli, "The Control of the False Discovery Rate in Multiple Testing Under Dependency," Annals of Statistics, vol. 29, no. 4, 2001.

[12] A. D. Ames, X. Xu, J. W. Grizzle and P. Tabuada, "Control Barrier Function Based Quadratic Programs for Safety Critical Systems," IEEE Trans. Automatic Control, vol. 62, no. 8, pp. 3861–3876, 2017.

[13] S. Bai, J. Z. Kolter and V. Koltun, "Deep Equilibrium Models," NeurIPS, 2019.

[14] Y. Liu, P. Ning and M. K. Reiter, "False Data Injection Attacks Against State Estimation in Electric Power Grids," ACM Trans. Information and System Security, vol. 14, no. 1, 2011.

[15] O. Boyaci, M. R. Narimani, K. R. Davis, M. Ismail, T. J. Overbye and E. Serpedin, "Joint Detection and Localization of Stealth False Data Injection Attacks in Smart Grids Using Graph Neural Networks," IEEE Trans. Smart Grid, vol. 13, no. 1, pp. 807-819, Jan. 2022. doi: 10.1109/TSG.2021.3117977

[16] A. S. Mohamed, D. Kundur and M. Khalaf, "On the Use of Safety Critical Control for Cyber-Physical Security in the Smart Grid," arXiv:2303.02197, 2023.

[17] A. Ameli, A. Hooshyar, E. F. El-Saadany and A. Youssef, "Attack Detection and Identification for Automatic Generation Control Systems," IEEE Trans. Power Systems, vol. 33, no. 5, pp. 4760-4774, Sep. 2018. See also A. Ameli et al., "Attack Detection for Load Frequency Control Systems Using Stochastic Unknown Input Estimators," IEEE Trans. Information Forensics and Security, 2018.

[18] "Detection of False Data Injection Attack in Power Grid Based on Spatial-Temporal Transformer Network," Expert Systems with Applications, 2023. doi: 10.1016/j.eswa.2023.121706

[19] "Graph Attention and Kolmogorov-Arnold Network Based Smart Grids Intrusion Detection," Scientific Reports, 2025. doi: 10.1038/s41598-025-88054-9

[20] "A Kolmogorov-Arnold Network for Interpretable Cyberattack Detection in AGC Systems," arXiv:2509.05259, 2025.

[21] "Adaptive False Data Injection Attack Detection in Load Frequency Control Using Recurrent Neural Networks," SICE J. Control, Measurement, and System Integration, 2025. doi: 10.1080/18824889.2025.2597566

[22] "Cyber Security of Smart-Grid Frequency Control: A Review and Vulnerability Assessment Framework," ACM Trans. Cyber-Physical Systems, 2024. doi: 10.1145/3661827